## Slide 1
Louis-Felix Nothias
University of California - San Diego
Slides by
Louis Felix Nothias
Feature-Based Molecular Networking
for Advanced Metabolomics
Data Analysis with GNPS

## Slide 2: Summary FBMN
Intro: Molecular networking
A New Method for Molecular Networking
  Spectral artefacts
  Isomers
  Quantification
Conclusion and Discussions

## Slide 3
Library Hit B
Diterpenes
Macrolides
Polyketides
Molecular Networking
Wang et al. Nat. Biotech. 2016 Aug 9;34(8):828-837.
Slide with D. Petras.

## Slide 4: Classic Molecular Networking

## Slide 5: Two Methods for M-Networking

## Slide 6: Dealing with Artefacts with FBMN

## Slide 7: Dealing with Artefacts with FBMN

## Slide 8: Molecular Networking: Quantification
Evalution using NIST 1950 SRM, 5 dilutions, 150 compounds annotated.

## Slide 9: Molecular Networking: Quantification

## Slide 10: Gradient Benchmark

## Slide 11: Gradient Benchmark: Classic MN
Samples analyzed by LC-MS/MS (DDA mode) on QTOF instrument (maXis II, Bruker Mass Spectrometry, C18 column)

## Slide 12: Gradient Benchmark: FBMN
Samples analyzed by LC-MS/MS (DDA mode) on QTOF instrument (maXis II, Bruker Mass Spectrometry, C18 column)

## Slide 13: Gradient Benchmark: Meta-Analysis

## Slide 14: Gradient Benchmark: Meta-Analysis
Meta-analysis of three experiments (QTOF, classic MN)

## Slide 15: Gradient Benchmark: Meta-Analysis
Meta-analysis of three experiments (QTOF, classic MN)

## Slide 16: Gradient Benchmark: Meta-Analysis
CLASSIC MN
Feature-Based MN
Limited quantitation
Various artefacts
Easy to use
Meta-analysis
Optimal quantitation
Isomers and artefacts
Requires an advance training
No meta-analysis
CONS
PRO
CONS
PRO
PRELIMINARY ANALYSIS
META-ANALYSIS
ADVANCED
ANALYSIS
SINGLE DATASET

## Slide 17: Feature-Based MN Documentation
Access the documentation here: https://ccms-ucsd.github.io/GNPSDocumentation/featurebasedmolecularnetworking//

## Slide 18: Feature-Based MN Quick Start
Access the page here: http://dorresteinappshub.ucsd.edu:5050/featurebasednetworking
Download these files at spectral_data.mgf feature_table.csv and metadata.txt
See the result of one example job here.

## Slide 19: Feature-Based MN with
Access the video tutorial :
https://www.youtube.com/watch?v=5jjMllbwD-U&list=PL4L2Xw5k8ITzd9hx5XIP94vFPxj1sSafB

## Slide 20
Thank you